## Slide 1: SHS MONITORING
@ SinergiTeknologi

## Slide 2: Latar Belakang
Kebutuhan Listrik di daerah terpencil, dimana belum terjangkau Distribusi PLN
Penggunaan Sistem SHS (Solar Home System) sebagai sumber daya utama
Pengguna SHS adalah user dengan pengetahuan dan habbit yang berbeda-beda
Diperlukan monitoring dan pengendalian untuk menjaga operasional perangkat sesuai spesifikasi dan kontrak

## Slide 3: Konfigurasi

## Slide 4: Network Topology
Frequency band : 2.4 GHz
Channel Bandwidth : 20 MHz
Speed : 54 Mbps
Network Address : DHCP/Static
Wirelles Security : WEP, WPA-PSK, WPA2-PSK
Standart & Protocol : IEEE 802.11 b/g

## Slide 5: Fungsi Remote Monitoring
Sistem Informasi
Site ID
Site Name
Site Address
IP Addres
Monitoring
Status Alarm dan On/Off Daya
Monitoring Arus Beban ( I Sense )
Monitoring Tegangan Beban ( V Sense )
Akses Lokal Monitoring via Web Base
Controlling
Remote On/Off Supply Tegangan Beban ( Digital Output)
Link Data
WiFi
Protokol
HTTP

## Slide 6: Aplikasi
Current, Voltage,
Power, Status on/off,
Level alarm
Base on time
Base on capacity
Force on/off manual
Limit Daya Pemakaian
Monitoring Daya Pemakaian
Pemutusan Daya
Setting
Monitoring
Kontrol

## Slide 7: Monitoring on NMS

## Slide 8: Monitoring on NMS
Status On/Off Load
Tegangan PV
Tegangan Battery
Arus Load
Arus Battery
Konsumsi Daya
Temperature CC
Temperature Battery
Koordinat System

## Slide 9: Data Log
Viewer :
Table
Chart
Excel

## Slide 10
END